## NPPA FIU
sample name | peak area abundance of 93 m/z | peak area abundance of 93 m/z | std
NPPA 5mg (48 hours sampling) | 38811218.67 | 15284937.1 | 15284937.1
Fentanyl 100mg (1 week sampling) | 499260.5 | 252652.7885 | 252652.7885
Fentanyl 100mg 1 week sampling
file no |  | 93 m/z | start time | end time |  | average | std | rsd
|  | 677913 | 7.746 | 7.827 |  | 499260.5 | 252652.7885 | 50.6054
|  | 320608 | 7.775 | 7.814
|  | 230897 | 7.763 | 7.83
NPPA 5mg 48 hours sampling
file no |  | 93 m/z | start time | end time |  | average | std | rsd
|  | 35390718 | 7.7 | 7.884 |  | 38811218.67 | 15284937.1 | 39.3828
|  | 55516616 | 7.566 | 7.902
|  | 25526322 | 7.753 | 7.93
[6 empty] | Sample | Average mass in 1/4 (ng) | std mass
|  |  |  | 1st | mass1 | 2nd | mass2 | 3rd | mass3 | average mass | std
|  |  | NPPA 5mg (48 hours sampling) | 35390718 | 3312.7219 | 55516616 | 5196.1112 | 25526322 | 2389.6079 | 3632.8137 | 1430.3703
|  |  | Fentanyl 100mg (1 week sampling) | 677913 | 64.2843 | 320608 | 30.8475 | 230897 | 22.4523 | 39.1947 | 22.1299
|  |  | Sample name | Average mass in 1/4 (ng) | std
|  |  | NPPA 5mg (48 hours sampling) | 3632.8137 | 1430.3703
|  |  | Fentanyl 100mg (1 week sampling) | 39.1947 | 22.1299

## Original KSP infor
Sample name | Weight of the tablets
KSP1 | 125.85g
KSP2 | 1.4561g
KSP3 | 1.9000g
KSP4 | 41.4233g
KSP5 | 4.9657g
KSP6 | 3.1654g
KSP7 | 15.9314g
KSP8 | 3.6575g
KSP9 | 3.3836g
KSP10 | 105.7032 g

## NPPA ksp
weight | KSP1 | file no |  | start time | end time | average | std | rsd
125.85g |  | 7321 | 1367066 |  |  | 454953.6667 | 141829.1985 | 31.1744 |  | sample name | average | std
|  | 7331 | 326894 | [6 empty] | Blank | 0 | 0 | Mass of tablets | Mass of tablets | Mass of NPPA on filter paper
|  | 7348 | 430575 | [6 empty] | KSP1 | 454953.6667 | 141829.1985 | 125.85g | 125.85g
|  | 7362 | 607392 | [6 empty] | KSP2 | 419882 | 110268.5409 | 1.4561g | 1.4561g
[10 empty] | KSP3 | 558250.3333 | 143552.3576 | 1.9000g | 1.9000g
weight | KSP2 | file no |  | start time | end time | average | std | rsd |  | KSP4 | 620019 | 192718.3577 | 41.4233g | 41.4233g
1.4561g |  | 7322 | 544938 |  |  | 419882 | 110268.5409 | 26.2618 |  | KSP5 | 350371 | 112374.3401 | 4.9657g | 4.9657g
|  | 7332 | 336620 | [6 empty] | KSP6 | 449957 | 196001.4586 | 3.1654g | 3.1654g
|  | 7349 | 378088 | [6 empty] | KSP7 | 336074.3333 | 81407.2814 | 15.9314g | 15.9314g
[10 empty] | KSP8 | 165117.3333 | 58772.2496 | 3.6575g | 3.6575g
[10 empty] | KSP9 | 574366.6667 | 149495.9085 | 3.3836g | 3.3836g
weight | KSP3 | file no |  | start time | end time | average | std | rsd |  | KSP10 | 1179041 | 145527.9055 | 105.7032 g | 105.7032 g
1.9000g |  | 7323 | 638052 |  |  | 558250.3333 | 143552.3576 | 25.7147
|  | 7333 | 644171
|  | 7350 | 392528 | [5 empty] | Sample | 1st (1/4) | 2nd(1/4) | 3rd (1/4)) | 4th (1/4)
|  | 7364 | 364691 | [5 empty] | KSP1 | 1367066 | 326894 | 430575 | 607392
[9 empty] | KSP2 | 544938 | 336620 | 378088
weight | KSP4 | file no |  | start time | end time | average | std | rsd | KSP3 | 638052 | 644171 | 392528 | 364691
41.4233g |  | 7324 | 579689 |  |  | 620019 | 192718.3577 | 31.0827 | KSP4 | 579689 | 829711 | 450657
|  | 7334 | 829711 | [5 empty] | KSP5 | 433903 | 197238 | 394598 | 222612
|  | 7351 | 450657 | [5 empty] | KSP6 | 665986 | 400382 | 283503
[9 empty] | KSP7 | 400515 | 244586 | 363122
[9 empty] | KSP8 | 526468 | 217671 | 101655 | 176026
weight | KSP5 | file no |  | start time | end time | average | std | rsd | KSP9 | 745707 | 470506 | 119678 | 506887
4.9657g |  | 7325 | 433903 |  |  | 350371 | 112374.3401 | 32.073 | KSP10 | 1097838 | 1092234 | 415575 | 1347051
|  | 7335 | 197238
|  | 7352 | 394598
|  | 7366 | 222612 | [7 empty] | sample name | average | Mass of tablets
[11 empty] | KSP1 | 454953.6667 | 125.85
| KSP6 | file no |  | start time | end time | average | std | rsd |  |  | KSP2 | 419882 | 1.4561
3.1654g |  | 7326 | 665986 |  |  | 449957 | 196001.4586 | 43.56 |  |  | KSP3 | 558250.3333 | 1.9
|  | 7339 | 400382 | [7 empty] | KSP4 | 620019 | 41.4233
|  | 7353 | 283503 | [7 empty] | KSP5 | 350371 | 4.9657
[11 empty] | KSP6 | 449957 | 3.1654
| KSP7 | file no |  | start time | end time | average | std | rsd |  |  | KSP7 | 336074.3333 | 15.9314
15.9314g |  | 7327 | 400515 |  |  | 336074.3333 | 81407.2814 | 24.223 |  |  | KSP8 | 165117.3333 | 3.6575
|  | 7340 | 244586 | [7 empty] | KSP9 | 574366.6667 | 3.3836
|  | 7354 | 363122 | [7 empty] | KSP10 | 1179041 | 105.7032
| KSP8 | file no |  | start time | end time | average | std | rsd
3.6575g |  | 7328 | 526468 |  |  | 165117.3333 | 58772.2496 | 35.5942
|  | 7341 | 217671
|  | 7355 | 101655
|  | 7363 | 176026
| KSP9 | file no |  | start time | end time | average | std | rsd
3.3836g |  | 7329 | 745707 |  |  | 574366.6667 | 149495.9085 | 26.028
|  | 7342 | 470506
|  | 7356 | 119678
|  | 7361 | 506887
105.7032 g | KSP10 | file no |  | start time | end time | average | std | rsd
|  | 7330 | 1097838 |  |  | 1179041 | 145527.9055 | 12.3429
|  | 7343 | 1092234
|  | 7360 | 415575
|  | 7365 | 1347051

## mass on filter papaer NPPA
Sample | average | 1st (1/4) | mass 1 | 2nd(1/4) | mass2 | 3rd (1/4)) | mass 3 | 4th (1/4) | mass4 | average | average mass in 1/4 (ng) | std mass
KSP1 | 454953.6667 | 1367066 | 128.7755 | 326894 | 31.4358 | 430575 | 41.1383 | 607392 | 57.6849 | 454953.6667 | 43.4196 | 13.2724
KSP2 | 419882 | 544938 | 51.8404 | 336620 | 32.3459 | 378088 | 36.2265 |  |  | 419882 | 40.1376 | 10.319
KSP3 | 558250.3333 | 638052 | 60.554 | 644171 | 61.1267 | 392528 | 37.5778 | 364691 | 34.9728 | 558250.3333 | 53.0862 | 13.4337
KSP4 | 620019 | 579689 | 55.0924 | 829711 | 78.4896 | 450657 | 43.0175 |  |  | 620019 | 58.8665 | 18.0347
KSP5 | 350371 | 433903 | 41.4497 | 197238 | 19.3025 | 394598 | 37.7715 | 222612 | 21.677 | 350371 | 33.6327 | 10.516
KSP6 | 449957 | 665986 | 63.1681 | 400382 | 38.3128 | 283503 | 27.3752 |  |  | 449957 | 42.952 | 18.3419
KSP7 | 336074.3333 | 400515 | 38.3252 | 244586 | 23.7333 | 363122 | 34.826 |  |  | 336074.3333 | 32.2949 | 7.6181
KSP8 | 165117.3333 | 526468 | 50.112 | 217671 | 21.2146 | 101655 | 10.3578 | 176026 | 17.3175 | 165117.3333 | 29.548 | 5.4999
KSP9 | 574366.6667 | 745707 | 70.6284 | 470506 | 44.875 | 119678 | 12.0444 | 506887 | 48.2796 | 574366.6667 | 54.5943 | 13.9899
KSP10 | 1179041 | 1097838 | 103.581 | 1092234 | 103.0566 | 415575 | 39.7346 | 1347051 | 126.9024 | 1179041 | 111.18 | 13.6186
100mg F | 499260.5 | 677913 | 64.2843 | 320608 | 30.8475 | 230897 | 22.4523 |  |  |  | 39.1947 | 22.1299
Sample | Average mass in 1/4 (ng) | std mass
100 mg Fentanyl | 39.1947 | 22.1299
KSP1 | 43.4196 | 13.2724
KSP2 | 40.1376 | 10.319 |  |  | 0
KSP3 | 53.0862 | 13.4337
KSP4 | 58.8665 | 18.0347
KSP5 | 33.6327 | 10.516
KSP6 | 42.952 | 18.3419
KSP7 | 32.2949 | 7.6181
KSP8 | 29.548 | 5.4999
KSP9 | 54.5943 | 13.9899
KSP10 | 111.18 | 13.6186

## cal curve
1pmm | file no.
| 7571 | 9758 | concentration | average peak area abundance | std | rsd
| 7572 | 4531 | 1 | 3955.3333 | 344.9961 | 8.7223
| 7573 | 4342 | 5 | 40322.3333 | 1750.6951 | 4.3418
| 7574 | 3845 | 10 | 111882 | 4124.6241 | 3.6866
| 7575 | 3679 | 20 | 201533.6667 | 10733.3358 | 5.3258
|  |  | 30 | 281026 | 12677.2817 | 4.5111
5ppm | file no. |  | 40 | 439821 | 17207.9488 | 3.9125
| 7428 | 49585
| 7429 | 41689 |  |  |  |  | sample name | average abundance on filter paper | Mass of tablets
| 7430 | 51508 |  |  |  |  | KSP1 | 454953.6667 | 125.85g
| 7431 | 40929 |  |  |  |  | KSP2 | 419882 | 1.4561g
| 7432 | 38349 |  |  |  |  | KSP3 | 558250.3333 | 1.9000g
[7 empty] | KSP4 | 620019 | 41.4233g
10ppm | file no. | [5 empty] | KSP5 | 350371 | 4.9657g
| 7434 | 107120 |  |  |  |  | KSP6 | 449957 | 3.1654g
| 7435 | 105752 |  |  |  |  | KSP7 | 336074.3333 | 15.9314g
| 7436 | 70466 |  |  |  |  | KSP8 | 165117.3333 | 3.6575g
| 7437 | 114334 |  |  |  |  | KSP9 | 574366.6667 | 3.3836g
| 7438 | 114192 |  |  |  |  | KSP10 | 1179041 | 105.7032 g
20ppm | file no.
| 7440 | 161899
| 7451 | 209316
| 7453 | 223462
| 7454 | 189289
| 7455 | 205996
30ppm | file no.
| 7457 | 277938
| 7458 | 294962
| 7459 | 334627
| 7460 | 258085
| 7461 | 270178
40ppm | file no.
| 7463 | 377852
| 7464 | 407901
| 7465 | 454810
| 7466 | 443623
| 7467 | 421030

## MB
weight | KSP1 | file no |  | start time | end time | sample name | average | std
125.85g |  | 7321 | 892627 |  |  | Blank | 0 | 0
|  | 7331 | 293363 |  |  | KSP1 | 914036 | 357365.7864
|  | 7348 | 567856 |  |  | KSP2 | 647582 | 332426.7824
|  | 7362 | 1281625 |  |  | KSP3 | 463627.6667 | 102075.9915
[6 empty] | KSP4 | 449294 | 120049.9653
weight | KSP2 | file no |  |  |  | KSP5 | 1390950.3333 | 1069585.5469
1.4561g |  | 7322 | 955883 |  |  | KSP6 | 668916 | 245564.9973
|  | 7332 | 295390 |  |  | KSP7 | 1366262.6667 | 618679.8022
|  | 7349 | 691473 |  |  | KSP8 | 1181844.6667 | 443233.3868
[6 empty] | KSP9 | 779621.6 | 627199.2726
[6 empty] | KSP10 | 378005 | 8592.7616
weight | KSP3 | file no
1.9000g |  | 7323 | 487469
|  | 7333 | 286477
|  | 7350 | 351741
|  | 7364 | 551673
weight | KSP4 | file no
41.4233g |  | 7324 | 339838
|  | 7334 | 430357
|  | 7351 | 577687
weight | KSP5 | file no
4.9657g |  | 7325 | 2598726
|  | 7335 | 1010606
|  | 7352 | 563519
7366
| KSP6 | file no
3.1654g |  | 7326 | 928227
|  | 7339 | 638611
|  | 7353 | 439910
| KSP7 | file no
15.9314g |  | 7327 | 1500843
|  | 7340 | 691370
|  | 7354 | 1906575
| KSP8 | file no
3.6575g |  | 7328 | 1468981
|  | 7341 | 671370
|  | 7355 | 1405183
|  | 7363 | 471410
| KSP9 | file no
3.3836g |  | 7329 | 696336
|  | 7342 | 437707
7356
|  | 7361 | 1630022
105.7032 g | KSP10 | file no
|  | 7330 | 371929
|  | 7343 | 384081
7360
7365

## Acetic acid
weight | KSP1 | file no |  | start time | end time | sample name | average | std
125.85g |  | 7321 | 2832396 | 2.699 | 2.8 | blank | 4306509.3333 | 2098998.9709
|  | 7331 | 6757466 | 2.747 | 2.941 | KSP1 | 4908462.3333 | 1601785.03
|  | 7348 | 4024015 | 2.7 | 2.761 | KSP2 | 2961456 | 709651.0362
|  | 7362 | 3943906 | 2.806 | 2.861 | KSP3 | 2817850 | 840136.9692
[6 empty] | KSP4 | 4320361.3333 | 1769583.0031
weight | KSP2 | file no |  |  |  | KSP5 | 2920684.6667 | 1671199.5783
1.4561g |  | 7322 | 2832396 | 2.585 | 2.63 | KSP6 | 3419135 | 1137416.0615
|  | 7332 | 3726780 | 2.673 | 2.972 | KSP7 | 3111072.6667 | 980822.9356
|  | 7349 | 2325192 | 2.615 | 2.655 | KSP8 | 7795304.6667 | 1725704.016
[6 empty] | KSP9 | 3648699.6667 | 1850862.3192
[6 empty] | KSP10 | 3144936.6667 | 1053512.9257
weight | KSP3 | file no
1.9000g |  | 7323 | 6122698 | 2.698 | 2.799
|  | 7333 | 2376764 | 2.69 | 2.76
|  | 7350 | 2290120 | 2.53 | 2.592
|  | 7364 | 3786666 | 2.569 | 2.633
weight | KSP4 | file no
41.4233g |  | 7324 | 2689773 | 2.597 | 2.663
|  | 7334 | 4069208 | 2.73 | 2.811
|  | 7351 | 6202103 | 2.577 | 2.646
weight | KSP5 | file no
4.9657g |  | 7325 | 4570182 | 2.81 | 2.876
|  | 7335 | 1228597 | 2.528 | 2.58
|  | 7352 | 2963275 | 2.571 | 2.644
7366
| KSP6 | file no
3.1654g |  | 7326 | 4469625 | 2.64 | 2.78
|  | 7339 | 2211198 | 2.53 | 2.58
|  | 7353 | 3576582 | 2.615 | 2.721
| KSP7 | file no
15.9314g |  | 7327 | 2959890 | 2.57 | 2.66
|  | 7340 | 2214619 | 2.65 | 2.701
|  | 7354 | 4158709 | 2.7 | 2753
| KSP8 | file no
3.6575g |  | 7328 | 5878403 | 2.662 | 2.78
|  | 7341 | 8282406 | 2.789 | 2.871
|  | 7355 | 9225105 | 2.794 | 2.865
|  | 7363 | 2450890 | 2.572 | 2.62
| KSP9 | file no
3.3836g |  | 7329 | 3039113 | 2.629 | 2.719
|  | 7342 | 2179516 | 2.815 | 2.884
|  | 7356 | 3655 | 2.708 | 2.775
|  | 7361 | 5727470 | 2.729 | 2.802
105.7032 g | KSP10 | file no
|  | 7330 | 3794851 | 2.599 | 2.712
|  | 7343 | 3710540 | 2.662 | 2.741
|  | 7360 | 1929419 | 2.585 | 2.66
7365
blank filter
|  | file no |  | start time | end time
|  | 7318 | 6442368 | 2.64 | 2.9
|  | 7320 | 2246422 | 2.76 | 2.88
|  | 7344 | 10413892 | 2.793 | 2.96
|  | 7345 | 4230738 | 2.179 | 2.29

## Method optimization 2
GC ramp | average peak area abundance of 93 m/z | std | GC ramp | optimized
30 | 31184009.67 | 2282838.859 | purge flow | 3mL
40 | 29576997 | 3979837.483 | TDU ramp | 75 C/min
50 | 18483208.67 | 3925927.652 | Transfer temp | 250C
|  |  | CIS ramp | 10 C/min
Purge flow | peak area | std | GC ramp | 30 C/min
3 | 31184009.67 | 2282838.859 | purge flow | optimized
5 | 19163656.33 | 2388039.182 | TDU ramp | 75 C/min
8 | 17847939 | 2409116.397 | Transfer temp | 250C
|  |  | CIS ramp | 10 C/min
Transfer temperature | peak area | std | GC ramp | 30 C/min
250 | 31184009.67 | 2282838.859 | purge flow | 3 mL/min
270 | 23295307 | 4794578.298 | TDU ramp | 75 C/min
300 | 22516790 | 2954489.289 | Transfer temp | optimized
|  |  | CIS ramp | 10 C/min
TDU ramp | peak area | std | GC ramp | 30 C/min
25 | 41491126.67 | 8367353.859 | purge flow | 3 mL/min
50 | 35305696.67 | 4360731.572 | TDU ramp | optimized
75 | 31184009.67 | 2282838.859 | Transfer temp | 250 C
100 | 28984676.67 | 6327198.612 | CIS ramp | 10 C/min
CIS ramp | peak are | std | GC ramp | 30 C/min
5 | 26144224.33 | 5607631.217 | purge flow | 3 mL/min
10 | 41491126.67 | 8367353.859 | TDU ramp | 25 C/min
12 | , | 10426280.16 | Transfer temp | 250 C
|  |  | CIS ramp | optimized

## Method optimization 1
Transfer temperature
[9 empty] | Transfer temperature | peak area | std
| 250 |  | start time | end time | average | std | rsd% |  | 250 | 31184009.6667 | 2282838.8587
7227 |  | 29508229 | 7.725 | 7.934 | 31184009.6667 | 2282838.8587 | 7.3205 |  | 270 | 23295307 | 4794578.2977
7228 |  | 30259750 | 7.705 | 8.037 |  |  |  |  | 300 | 22516790 | 2954489.2888
7229 |  | 33784050 | 7.715 | 7.964
| 270 |  |  |  | average | std | rsd% | 270 |  |  |  | average | std | rsd%
7247 |  | 21363346 |  |  | 23295307 | 4794578.2977 | 20.5817 |  | 0
7248 |  | 28754463
7249 |  | 16896589
7250 |  | 19768112 | [7 empty] | GC ramp | 30 C/min
[10 empty] | purge flow | 3 mL/min
[10 empty] | TDU ramp | 75 C/min
[10 empty] | Transfer temp | optimized
| 300 |  |  |  | average | std | rsd% |  |  | CIS ramp | 10 C/min
7251 |  | 23752610 |  |  | 22516790 | 2954489.2888 | 13.1213
7252 |  | 45892428
7253 |  | 24652708
7254 |  | 19145052

## Method 1.3
TDU ramp
[12 empty] | TDU ramp | peak area | std
|  | 50 C/min |  | start time | end time | average | std | rsd% |  |  |  | 25 | 41491126.6667 | 8367353.8587
| 7255 |  | 37932130 | 7.713 | 7.949 | 35305696.6667 | 4360731.5722 | 12.3514 |  |  |  | 50 | 35305696.6667 | 4360731.5722
| 7256 |  | 30271947 | 7.698 | 7.91 | [6 empty] | 75 | 31184009.6667 | 2282838.8587
| 7257 |  | 37713013 | 7.699 | 7.966 | [6 empty] | 100 | 28984676.6667 | 6327198.6124
|  | 75 C/min |  | start time | end time | average | std | rsd%
| 7227 |  | 29508229 | 7.725 | 7.934 | 31184009.6667 | 2282838.8587 | 7.3205
| 7228 |  | 30259750 | 7.705 | 8.037
| 7229 |  | 33784050 | 7.715 | 7.964
[13 empty] | GC ramp | 30 C/min
[13 empty] | purge flow | 3 mL/min
[13 empty] | TDU ramp | optimized
|  | 100 C/min |  | start time | end time | average | std | rsd% |  |  |  |  | Transfer temp | 250 C
| 7258 |  | 30437718 | 7.699 | 7.942 | 28984676.6667 | 6327198.6124 | 21.8295 |  |  |  |  | CIS ramp | 10 C/min
| 7259 |  | 22057354 | 7.686 | 7.984
| 7260 |  | 34458958 | 7.697 | 7.906
|  | 25 C/min |  | start time | end time | average | std | rsd%
| 7303 |  | 12912543 | 7.707 | 7.904 | 41491126.6667 | 8367353.8587 | 20.1666
| 7304 |  | 32381686 | 7.693 | 7.916
| 7305 |  | 24934604 | 7.668 | 7.954 |  |  |  | between 25 and 50
|  |  | 53574882 | 7.676 | 7.909 |  |  |  | t-Test: Two-Sample Assuming Equal Variances
63969261
| 7312 |  | 32340832 | 7.763 | 7.881 |  |  |  |  | Variable 1 | Variable 2
| 7313 |  | 43379884 | 7.69 | 7.898 |  |  |  | Mean | 23409611 | 35305696.6667
| 7314 |  | 48752664 | 7.676 | 7.902 |  |  |  | Variance | 96506085026149 | 1.9016e+13
[9 empty] | Observations | 3 | 3
[9 empty] | Pooled Variance | 5.7761e+13
[9 empty] | Hypothesized Mean Difference | 0
[9 empty] | df | 4
[9 empty] | t Stat | -1.917
[9 empty] | P(T<=t) one-tail | 0.063853
[9 empty] | t Critical one-tail | 2.1318
[9 empty] | P(T<=t) two-tail | 0.12771
[9 empty] | t Critical two-tail | 2.7764

## Method 1.2
GC ramp
| 30 |  | start time | end time |  | average | std | rsd% |  |  | GC ramp | average peak area abundance of 93 m/z | std | GC ramp | optimized
7227 |  | 29508229 | 7.725 | 7.934 |  | 31184009.6667 | 2282838.8587 | 7.3205 |  |  | 30 | 31184009.6667 | 2282838.8587 | purge flow | 3mL
7228 |  | 30259750 | 7.705 | 8.037 | [6 empty] | 40 | 29576997 | 3979837.4832 | TDU ramp | 75 C/min
7229 |  | 33784050 | 7.715 | 7.964 | [6 empty] | 50 | 18483208.6667 | 3925927.6519 | Transfer temp | 250C
[14 empty] | CIS ramp | 10 C/min
| 40 |  |  |  |  | average | std | rsd%
7231 |  | 29172956 | 5.883 | 6.071 |  | 29576997 | 3979837.4832 | 13.4559
7232 |  | 25814592 | 6.652 | 6.848
7233 |  | 33743443 | 6.641 | 6.81
| 50 |  |  |  |  | average | std | rsd%
7235 |  | 15752652 | 6.473 | 6.673 |  | 18483208.6667 | 3925927.6519 | 21.2405
7236 |  | 33725740 | 6.427 | 6.579
7237 |  | 22982327 | 6.42 | 6.54
7246 |  | 16714647
| purge flow | [9 empty] | Purge flow | peak area | std | GC ramp | 30 C/min
| 3 mL/min |  | start time | end time |  | average | std | rsd% |  |  | 3 | 31184009.6667 | 2282838.8587 | purge flow | optimized
7227 |  | 29508229 | 7.725 | 7.934 |  | 31184009.6667 | 2282838.8587 | 7.3205 |  |  | 5 | 19163656.3333 | 2388039.1816 | TDU ramp | 75 C/min
7228 |  | 30259750 | 7.705 | 8.037 | [6 empty] | 8 | 17847939 | 2409116.3973 | Transfer temp | 250C
7229 |  | 33784050 | 7.715 | 7.964 | [9 empty] | CIS ramp | 10 C/min
| 5 mL/min |  | start time | end time |  | average | std | rsd%
7241 |  | 33322910 |  |  |  | 19163656.3333 | 2388039.1816 | 12.4613
7242 |  | 20772096
7243 |  | 20299133
7244 |  | 16419740
| 8 mL/min |  | start time | end time |  | average | std | rsd%
7238 |  | 16783488 |  |  |  | 17847939 | 2409116.3973 | 13.498
7239 |  | 30054636
7240 |  | 20605934
7245 |  | 16154395
|  |  | t-Test: Two-Sample Assuming Equal Variances |  |  |  |  | t-Test: Two-Sample Assuming Unequal Variances
|  |  |  | Variable 1 | Variable 2 |  |  |  | Variable 1 | Variable 2
|  |  | Mean | 31184009.6667 | 24798046.3333 |  |  | Mean | 31184009.6667 | 24798046.3333
|  |  | Variance | 5.2114e+12 | 5.4561e+13 |  |  | Variance | 5.2114e+12 | 5.4561e+13
|  |  | Observations | 3 | 3 |  |  | Observations | 3 | 3
|  |  | Pooled Variance | 2.9886e+13 |  |  |  | Hypothesized Mean Difference | 0
|  |  | Hypothesized Mean Difference | 0 |  |  |  | df | 2
|  |  | df | 4 |  |  |  | t Stat | 1.4307
|  |  | t Stat | 1.4307 |  |  |  | P(T<=t) one-tail | 0.14441
|  |  | P(T<=t) one-tail | 0.11288 |  |  |  | t Critical one-tail | 2.92
|  |  | t Critical one-tail | 2.1318 |  |  |  | P(T<=t) two-tail | 0.28882
|  |  | P(T<=t) two-tail | 0.22577 |  |  |  | t Critical two-tail | 4.3027
|  |  | t Critical two-tail | 2.7764

## Method 1.4
CIS ramp
| 5 C/min |  | start time | end time | average | std | rsd% |  |  | CIS ramp | peak are | std
7260 |  | 21997452 | 7.673 | 7.9 | 26144224.3333 | 5607631.2167 | 21.4488 |  |  | 5 | 26144224.3333 | 5607631.2167 | GC ramp | 30 C/min
7261 |  | 32524435 | 7.722 | 7.918 | [5 empty] | 10 | 41491126.6667 | 8367353.8587 | purge flow | 3 mL/min
7262 |  | 23910786 | 7.703 | 7.932 | [5 empty] | 12 | 25844996.5 | 8197761.1504 | TDU ramp | 25 C/min
[13 empty] | Transfer temp | 250 C
[13 empty] | CIS ramp | optimized
| 10 C/min |  | start time | end time | average | std | rsd% | GC ramp | 30 C/min
7312 |  | 32340832 | 7.763 | 7.881 | 41491126.6667 | 8367353.8587 | 20.1666 | purge flow | 3 mL/min
7313 |  | 43379884 | 7.69 | 7.898 |  |  |  | TDU ramp | 25 C/min
7314 |  | 48752664 | 7.676 | 7.902 |  |  |  | Transfer temp | 250 C
[8 empty] | CIS ramp | optimized
| 12 C/min |  | start time | end time | average | std | rsd% | GC ramp | 30 C/min
7315 |  | 31641689 | 7.672 | 7.916 | 25844996.5 | 8197761.1504 | 31.7189 | purge flow | 3 mL/min
7316 |  | 20048304 | 7.7 | 7.904 |  |  |  | TDU ramp | 25 C/min
[8 empty] | Transfer temp | 250 C
[8 empty] | CIS ramp | optimized